SAFESTEPS PRODUCT GOVERNANCE

# Intended Purpose, Module Boundary and Claims Register

Controlled draft for Australian regulatory enquiry, product design and communications review

| Control | Current value |
| --- | --- |
| Document owner | Katrina Watts, SafeSteps |
| Version/date | Version 1.0 ¦ 29 August 2026 |
| Status | DRAFT - NOT REGULATORY APPROVAL |
| Review trigger | Any change to function, user, population, output, claim, AI model or professional workflow |

Controlling product position SafeSteps may administer governed preliminary screening and organise source-linked assessment-support information. SafeSteps does not diagnose, make a forensic finding, recommend clinical treatment, sign a professional opinion, or decide removal, reunification, contact, culpability or legal fact. Only an appropriately registered and competent professional may independently assess the material and author their own signed opinion within scope.

# 1. Purpose of this register

This register controls the intended purpose and permitted claims for each SafeSteps module. It is designed to prevent general family-support functions from silently expanding into medical, clinical, forensic or legal decision-making. It is a working governance document for TGA engagement and does not determine classification or confer approval.

Use it when writing product requirements, screens, reports, app-store text, websites, training and contracts.

Review every proposed feature against the module boundary before development or release.

Retain prior versions and record the evidence and authority supporting every approved claim.

Escalate uncertain medical-device, privacy, child-safety, professional-scope and legal questions before release.

# 2. Controlled intended-purpose statement

Draft intended purpose SafeSteps is an Australia-wide family-support web and mobile platform intended to help parents, children and authorised participants complete structured learning, record goals and progress, organise source-linked information, coordinate support, and communicate within governed permissions. A separately controlled assessment-support module may administer appropriately licensed preliminary screening instruments, apply the authorised deterministic scoring method, display transparent results and prepare an unreviewed source-linked bundle that a user may choose, or a lawfully authorised party may request, to have independently reviewed by an appropriately registered and competent professional. System outputs remain preliminary and non-diagnostic unless a practitioner independently authors and signs a separate professional conclusion.

## 2.1 Intended users and settings

Parents and adult family members using voluntary family-support, education and preliminary self-report functions.

Children only through an age-, ability-, authority-, consent- and assent-appropriate experience with child-safety safeguards.

Authorised carers recording dated observations, including strengths and concerns, within approved access boundaries.

Registered professionals reviewing relevant material within verified registration, competence and scope.

Authorised family-support, casework, legal or court users receiving only purpose-limited information under lawful authority.

Consumer mobile/web use, including low-data and offline-capable workflows; professional portal use in approved service settings.

## 2.2 Explicitly outside the current intended purpose

Autonomous diagnosis, prognosis, forensic conclusion or treatment recommendation.

Medication advice, prescribing, dose changes, detoxification instructions or emergency-service replacement.

Automatic findings that an allegation is proven, a parent is fit/unfit, or a child should be removed or reunified.

Automatic restrictions on parent-child contact, case closure or disclosure of private child/family information.

AI alteration of validated questions, instrument scoring, thresholds or practitioner conclusions.

Unsupervised administration or disclosure of practitioner-only or restricted psychological tests.

# 3. Module boundary register

| Module | Function | Category | Permitted output | Preliminary regulatory position |
| --- | --- | --- | --- | --- |
| A. Learning library | Lessons, read-aloud, reflections, checks and practice tasks | Family education/support | No clinical score or diagnosis | Likely non-medical; confirm claims |
| B. Goals and progress | Goals, routines, achievements, barriers and longitudinal record | Administrative/support | Descriptive progress only | Likely non-medical; avoid clinical prediction |
| C. Evidence vault | Live capture, timestamp, provenance, access and tamper evidence | Record management | Authenticity metadata; not truth finding | Likely non-medical; separate evidential/legal claims |
| D. Service navigation | Directory, matching, referrals, waitlists and barriers | Navigation/administration | Options, not clinical prescription | Likely non-medical if claims remain limited |
| E. AI Support Coach | Reflective support, coping prompts, safety information and task coaching | Wellbeing/support | No diagnosis or treatment plan | Potential exclusion depends on claims and risk |
| F. Preliminary screening | Licensed questionnaires, eligibility gates and deterministic scoring | Assessment support | Unreviewed result - not a diagnosis | May be regulated, excluded or exempt; TGA confirmation |
| G. Assessment bundle | Sources, responses, scores, context, uncertainty and disputes | Assessment support | Unreviewed draft bundle | May affect device boundary/classification |
| H. Professional review | Practitioner reviews and separately signs own conclusion | Professional service/workflow | Practitioner-authored status only | Software functions still require assessment |
| I. Child/carer spaces | Check-ins, views, observations, strengths and concerns | Participation/recording | No automated clinical inference | Child safety, privacy and possible survey exclusions |
| J. Parent-child tools | Games, activities, updates and monitored messaging | Relationship support | No attachment diagnosis or risk finding | Analysis/claims could create medical or legal purpose |
| K. Reports and sharing | Source-linked timelines, progress, disputes and audit history | Reporting/administration | Facts/opinions/disputes separated | No automated legal or clinical conclusion |

# 4. Claims register

| ID | Proposed claim | Status | Minimum substantiation | Required limitation |
| --- | --- | --- | --- | --- |
| C-01 | Helps families organise goals, learning and evidence | Permitted now | Product function testing | Education/support only |
| C-02 | Preserves progress across authorised worker changes | Permitted now | Audit/version/access tests | Subject to lawful retention/access |
| C-03 | Records timestamp and capture provenance | Permitted with qualification | Security and integrity validation | Do not claim a record is true or court-admissible |
| C-04 | Provides general emotional-support and coping prompts | Permitted with safeguards | Content review, crisis and usability testing | Not counselling, diagnosis or treatment |
| C-05 | Administers a named preliminary screening instrument | Hold pending instrument and regulatory approval | Licence, digital equivalence, scoring and clinical evidence | Show population, limits and “not a diagnosis” |
| C-06 | Identifies a possible area requiring professional review | Hold pending validation | Performance and safety evidence | No disease finding or treatment recommendation |
| C-07 | Compares governed screening results over time | Hold pending validation | Version mapping, measurement and subgroup evidence | No unsupported claim of improvement or deterioration |
| C-08 | Prepares a source-linked preliminary assessment bundle | Permitted only as unreviewed draft | Completeness, traceability and hallucination tests | No professional or forensic status |
| C-09 | A registered professional can independently review material | Permitted with governance | Registration, scope, signature and audit controls | Practitioner owns conclusion |
| C-10 | Produces an official psychological assessment | Prohibited as a system claim | Only practitioner-authored service may qualify | Never imply SafeSteps signs or validates it |
| C-11 | Produces a forensic assessment for court | Prohibited as a system claim | Independent qualified forensic process required | Platform may only organise authorised material |
| C-12 | Assesses parent-child communication or attachment | Hold - high risk | Construct validity, consent, bias and clinical evidence | No automated attachment diagnosis or parenting judgment |
| C-13 | Proves a parent has changed | Prohibited | No single system can prove the ultimate conclusion | Use “records evidence relevant to change over time” |
| C-14 | Predicts child-safety risk or reunification success | Prohibited pending separate approval | Would require a new intended purpose and evidence program | Never used for automatic case decisions |
| C-15 | TGA approved / clinically validated / court approved | Prohibited until exactly true | Formal documentary authority | Approval must identify exact module/version/claim |

# 5. Required user-facing status language

| Status | Mandatory wording | Display rule |
| --- | --- | --- |
| Unreviewed preliminary result | “Preliminary screening result - not a diagnosis.” | Every screen, notification, export and share |
| Professionally reviewed - non-diagnostic | “Reviewed by [practitioner], with stated limitations; not a diagnosis.” | Only after verified review |
| Practitioner-authored professional conclusion | “Separate conclusion authored and signed by [practitioner].” | Never attributed to SafeSteps or AI |
| Invalid or rejected | “Do not rely on this result. Reason: [recorded reason].” | Prior output retained in audit history |
| Disputed | “Disputed information - not established as fact.” | Visible wherever the item is used |

# 6. AI, clinical and forensic boundaries

Generative AI may assist source indexing, chronology, completeness checks, contradiction surfacing, plain-language explanation and user coaching.

Generative AI must not alter validated questions, calculate an unauthorised score, select restricted tests, invent sources, diagnose, prescribe, sign or impersonate a practitioner.

Every AI-derived extract remains labelled, source-linked, contestable and unverified until the required human confirmation occurs.

Professional review is not a rubber stamp: the practitioner must independently consider administration, validity, context, alternatives, contrary information and limitations.

Court, legal, casework or professional access does not convert a preliminary output into established fact or a professional opinion.

# 7. Change-control and release gate

Describe the changed function, output, intended user, population, setting and claim.

Determine whether the change introduces diagnosis, prediction, prognosis, treatment, monitoring, clinical recommendation or legal/child-protection inference.

Reassess exclusion, exemption, classification, ARTG, evidence, privacy, child-safety and professional-scope implications.

Update hazards, clinical evaluation, software tests, instructions, labels, training, contracts and this register.

Obtain required regulatory and governance approval before enabling or advertising the change.

Release with a traceable version; monitor performance, complaints, incidents, bias, misuse and scope creep.

Stop-release rule A feature must not ship merely because a human may review its output. The actual intended purpose, analysis performed, claim made, risk and applicable Australian rules must first be resolved.

# 8. Decisions required before clinical-module development

Confirm the Australian legal entity, manufacturer and sponsor roles.

Obtain an Australian medical-device regulatory opinion for every clinical or assessment-support function.

Name each proposed instrument and verify licence, digital use, population, language, scoring, thresholds and qualification restrictions.

Appoint clinical, psychological/forensic, child-safety, privacy, security and lived-experience governance reviewers.

Define professional credential verification, scope, conflicts, independent review, signature and second-opinion processes.

Complete clinical-evidence, risk-management, quality-management, software-lifecycle, cybersecurity and post-market plans proportionate to the confirmed pathway.

# Appendix A - Controlled terminology

| Control | Terms |
| --- | --- |
| Use now | preliminary screening; unreviewed; support; organise; source-linked; may request professional review |
| Use only when evidenced and authorised | validated for [exact purpose/population/version]; professionally reviewed; practitioner-authored |
| Do not use now | pre-diagnosis; SafeSteps diagnosis; official forensic assessment; proves change; predicts safety; parent fit/unfit; TGA approved; court approved |

# Appendix B - Official Australian references

TGA - software-based medical devices: https://www.tga.gov.au/resources/guidance/understanding-how-we-regulate-software-based-medical-devices

TGA - exempt software as a medical device: https://www.tga.gov.au/products/medical-devices/software-and-artificial-intelligence-ai/overview/exempt-software-medical-device

TGA - clinical decision support software: https://www.tga.gov.au/resources/guidance/understanding-clinical-decision-support-system-software-regulation

TGA - AI medical-device software regulation: https://www.tga.gov.au/products/medical-devices/software-and-artificial-intelligence-ai/manufacturing/artificial-intelligence-ai-and-medical-device-software-regulation

TGA - evidence requirements for software using AI: https://www.tga.gov.au/products/medical-devices/software-and-artificial-intelligence-ai/manufacturing/artificial-intelligence-ai-and-medical-device-software-regulation/evidence-requirements-software-using-ai

Document control: Version 1.0 | Draft for regulatory enquiry | Prepared 29 August 2026